## Checklist
Checklist for water planning
This checklist is designed to help decision makers prioritise actions in accordance with the 2014-2019 Integrated Water Management Plan.
The checklist has been broken up into three main areas. The primary area determines the overall importance of meeting best practice stormwater management and is based on three main criteria: Is the drainage catchment at or near capacity? Has a downstream system been built to treat this area already? Which waterway catchment does this area drain into and what aspects of this waterway do I need to protect?
The remaining two sections of questions recognise additional priorities arising from the Councils commitment to: Develop sustainable buildings that use best practice water management. Develop and maintaining high quality open space. |  |  |  |  | yes
no
Please answer all relevant questions using the dropdown boxes in column C. The recommendations will be accompanied with a very high to very low priority rating. It is recommended that anything rating medium and over be considered during the concept design stage of a project.
[5 empty] | no drainage issue | Skeleton Creek | Laverton Creek | Cherry Creek | Kororoit Creek | Stony Creek | Yarra River
Section 1 - General priority for meeting best practice stormwater management in this area |  |  |  |  | stormwater harvesting system already in operation | Very low | Very low | Very low | Very low | Very low | Very low | Very low
Questions 1 to 3 identify the overall priority for Water Sensitive Urban Design from a water way health and drainage capacity point of view. To assist with answering these questions some additional layers have been added to intramaps. These maps will be updated as further projects are planned and developed. To answer these questions go to the assets page on Intramaps; click on the sustainable stormwater layer. To answer question 1 turn on the "drains near capacity" layer. To answer question 2 turn on the drainage catchments layer and use the information tool to find which waterway the catchment drains into. To answer question 3 turn on the stormwater harvesting and best practice layers. These layers will be updated once the mapping and prioritisation project identified in the IWMP Action Plan has been completed. For now, if the stormwater harvesting or best practice layers are on then select "stormwater harvesting already in operation" from the drop down box. If the site is rated at "thought to be best practice" then consider using "stormwater harvesting system could be built at some time" until the maps have been updated. This is due to the uncertainty around the effectiveness of the treatment in these areas. |  |  |  |  | stormwater harvesting system identified in for development in current capital works program | Very low | Very low | Very low | Very low | Very low | Very low | Very low
Healthy waterways and nuisance flooding |  | Click on the box below to select an answer | Recommendations |  | Stormwater harvesting system identified to be built in next 5 years | Low | Low | Low | Low | Very low | Very low | Low
Qu1 | Is the project located in a drainage catchment that has been identified as being at or near capacity? |  |  |  | Stormwater harvesting system could be build at some time but there are no definite plans | Medium | Medium | Medium | Medium | Low | Low | High
Qu2 | What waterway catchment is the project taking place in? |  |  |  | no stormwater harvesting system identified in this drainage catchment | Very high | Very high | High | High | Medium | Medium | Very high
Qu3 | Is this project located in a drainage catchment that has been identified for stormwater harvesting? |  | #N/A | The priority for implementing best practice stormwater management on this project is
#N/A
[6 empty] | Please pay particular consideration to: Mimic natural flows by reducing stormwater runoff Protect water quality by removing pollutant loads Protect aquatic life by preventing sediment and litter from entering waterways | Please pay particular consideration to: Mimic natural flows by reducing stormwater runoff Protect water quality by removing pollutant loads | Please pay particular consideration to: Protect water quality by removing pollutant loads | Please pay particular consideration to: Protect water quality by removing pollutant loads Protect aquatic life by preventing sediment and litter from entering waterways | protect from litter | protect from litter
Section 2 - Considerations for projects in and around buildings
The following section explores the main considerations for managing water effectively in new or upgraded buildings. Please note, managing the urban heat island for liveability and health benefits is covered in section 3. This is because the use of broad canopy trees is the primary means of mitigating the urban heat island. Additional considerations that may need to be considered in some cases include green walls and green roofs. Green roofs should be considered where the drainage system is at or near capacity as they absorb between 75 -85% of the stormwater (green roofs and rainwater tanks are not compatible for this reason). Green roofs and walls should also be considered in sites where the vulnerability to heat events is known to be high, particularly in sites where there is limited opportunity to introduce broad canopy trees. Creepers grown up walls have been shown to be as effective at reducing the urban heat island as green walls and are likely to be less expensive to maintain and install. |  |  |  |  | consider installing a rain water tank
Buildings |  | Click on the box below to select an answer | Recommendations |  |  | Most days of the week, all year round (e.g. childcare centre) | semi regularly, most of the year (e.g. Pavilion that has high, regular weekend use) | Seasonally (e.g. Public toilet in a park used mostly in peak season)
Qu4 | Does this project include building or upgrading a building with appliances that use water such as toilets, showers, taps etc? |  |  |  | can supply 90% or more | Very high | High | Medium
| Questions 5 to 7 will assist in determining the priority is for installing a water tanks as part of the project. |  |  |  | can supply 80% or more | High | Medium | Low
Qu5 | Is there a demand for the tank water e.g. does this project include building or upgrading a building with toilets? |  |  | continue to question 8 | supplies less than 80% | Medium | Low | Very low
Qu6 | How frequent is the demand for rain water e.g. How frequently are the toilets likely to be used?
Qu7 | Is the roof large enough to provide most of the toilet water needs? (this can be modelled through MUSIC or you can estimate around 250 L/yr per m^2 of roof) |  | #N/A |  |  | High
| Questions 8 to 10 will assist in determining the priority is for installing a greywater system as part of the project. |  |  |  |  | Medium
Qu8 | Is there a source of greywater e.g. Is there a shower block? |  |  | continue to question 8
Qu9 | Is there a demand for greywater such as a land scaped area nearby?
Qu10 | Are we currently using or planning to use an irrigation system to maintain the landscaped area? |  | Very Low |  | We would keep on watering this sight even in a drought | Very high
[5 empty] | This is a high use sight with significant irrigation demand | High
Section 3 - Considerations for open space |  |  |  |  | this is a moderate use sight with moderate water demand | Medium
The following section explores the main considerations for managing water in and around open space environments. |  |  |  |  | This is a sight that has only occasional irrigation or use | Low
Open space |  | Click on the box below to select an answer | Recommendations
Qu11 | Does this project include installing or upgrading an irrigation system? |  |  | continue to question 13
Qu12 | Is this a high use sight? |  | #N/A |  | The area is less than 25% permeable | Very high
| Questions 13 determines the priority is for keeping water in the landscape to maintain the health of vegetation, in particular street trees and significant trees. |  |  |  | The sight is between 25% to 50% permeable | High
Qu13 | Is vegetation being used in highly impervious areas? |  | #N/A | the priority for using passive irrigation techniques to mantain vegitation is | The sight is 50% to 75% permeable | Medium
| Questions 14 and 15 will help to determine the priority for using broad canopy shade trees in the landscape to reduce the urban heat island. In these cases water will need to be captured and used in the landscape to maintain the broad canopy trees. |  |  |  | The sight is 75% permeable or more | Low
Qu14 | What is the heatwave vulnerability index rating for the site? Please visit http://www.mappingvulnerabilityindex.com/home/melbournevi
Qu15 | Is this project taking place in a high use or high profile area such as an activity centre or common school rout? |  | #N/A |  | Heat vulnerability index rating | High profile or high use site | Medium profile of medium use site | Low profile or low use site
[5 empty] | 10 to 9 | Very high | Very high | Medium
[5 empty] | 8 to 7 | Very high | High | Low
[5 empty] | 6 to 5 | High | Medium | Low
[5 empty] | 4 to 3 | Medium | Low | Very low
[5 empty] | 2 to 1 | Low | Very low | Very low